## Building Application
2016/2017 UC/CSU/Utility Energy Efficiency Partnership Program | [18 empty] | Project Application (Form C)
[27 empty] | Estimated Building (or Central System) Energy Use |  |  |  | Estimated Energy Delivered to the Building from a Separate Plant |  |  | Estimated Utility Energy Use
FORM C: MBCx Project Application Form | [40 empty] | Projected Utility Energy Savings
One Application Per Building | [18 empty] | Year Constructed | Date Application Prepared | Building Function | Central Plant (CP) or Building (B) Project | Pure MBCx (P) or Hybrid (H) | Building Area (GSF) | % of Building area requiring OA ventilation | Fume Hood Count | Annual Electricity Use (kWh/yr) | On-Peak Electric Demand (kW) | Summer On-Peak Electricity Use (kWh/yr) | Annual Natural Gas Use (th/yr) | Annual Steam Use (lb/yr) | Annual Hot Water Use (MMBtu/yr) | Annual Chilled Water Use (MMBtu/yr) | Annual Electricity Use (kWh/yr) | Electricity Use per sq ft (kWh/yr/GSF) | Summer On-Peak Electricity Demand (kW) | Annual Gas Use (th/yr) | Annual Gas Use per sq ft (th/yr/GSF) | Total Annual Energy Use (kBtu/yr) | Total Annual Energy Use per sq ft (kBtu/yr-sf) | Projected Annual Electricity Savings (kWh/yr) | Projected Annual Electricity Savings per sq ft (kWh/yr/GSF) | Projected Savings % of Annual Electric Use | On-Peak Electric Demand (kW) | Savings % of On-Peak Electric Demand | Projected Annual Gas Savings (th/yr) | Projected Annual Gas Savings per sq ft (th/yr/GSF) | Projected Savings % of Annual Gas Use
[19 empty] | 0 | 0 | 0 | B |  | 0 | 0% | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | #DIV/0! | 0 | #DIV/0! | 0% | 0 | 0% | 0 | #DIV/0! | 0%
Please fill in all green boxes. If more room is required, use Additional Information tab.
System
Campus
Building Name
Tax ID
Campus Contact
Email
Phone
Consultant Contact
Email
Phone
Utilities |  | (Electric) |  |  | & |  | (Gas) | [11 empty] | 1
Service Account Number
Date Application Prepared | [17 empty] | (Electric) | (Gas)
By signing , I will/have obtained all required permits for this installation. I understand that it is my responsibility, at my own expense, to ensure that contractors and/or subcontractors used obtain and maintain licenses and permits required by federal, state, local or other relevant governing or regulatory bodies needed to perform its work. |  | Signature: | [15 empty] | LADWP | LADWP
[18 empty] | PG&E | PG&E
[18 empty] | SCE | SCG
[18 empty] | SDG&E | SDG&E
[18 empty] | Other Muni | Other Muni
Permit Number (if applicable)
A. Building Description
Building Function
Building Area (GSF) |  |  | Please use REVOGSF50 (UC) or equivalent CSU definition of space if available
Number of Floors | [6 empty] | Year Constructed
Fume Hood Count | [6 empty] | Typical Operating Hours per Week
Percent of building area requiring 100% outside air ventilation (e.g. laboratories)
Please explain why this building is a good candidate for MBCx. For example, is this building known as a "problem building" or an "energy hog" and why?
[9 empty] | (to AutoFit the row height to the text, click inside of the text cell, then hit 'Enter') | [6 empty] | 0 | x x x
How does the energy use index of this building compare with other buildings on campus and other buildings serving a similar function? (UC campuses see Form C.1)
[9 empty] | (to AutoFit the row height to the text, click inside of the text cell, then hit 'Enter') | [6 empty] | 0 | x x x
B. Central System Equipment Inventory
Please identify control systems.
|  |  |  | DDC | Mix of DDC, Pneumatic, Other |  | Pneumatic or Other
Air Handlers:
Zone Controls:
Chillers and Boilers (if in bldg):
C. Building Metering/Monitoring/Management Inventory
Select the appropriate status for each of the following meter types in the building. Hot Water, Steam and Chilled Water meters only apply to buildings which receive these energy sources from a separate building or central plant. The MBCx program requires that each energy source entering a building (and exiting, for central plants) be metered.
|  | Building does not receive this energy source. |  | Meter exists and is already tied into campus EIS. | Meter exists and will be tied into campus EIS. |  | New meter will be installed and tied into campus EIS
Electricity:
Natural Gas:
Hot Water:
Steam:
Chilled Water:
Please identify the existing and/or proposed energy information system(s) (EIS) and how it will interface with meters and equipment (meters should automatically communicate interval energy use to a front end storage device). Also identify the storage capacity (the MBCx program requires the EIS to be able to store and manipulate data for at least 10 years).
[9 empty] | (to AutoFit the row height to the text, click inside of the text cell, then hit 'Enter') | [6 empty] | 0 | x x x
The MBCx program requires that commissioning agents train campus operators in the revised sequences of operations and usage of newly implemented energy management strategies. Please acknowledge this requirement by checking the box below.
Training and documentation of commissioned systems will be provided to campus operators:
D. Estimated Building Energy Use
Please enter the quantity of energy entering the building. Indicate in the second cell how this is measured or estimated. | [9 empty] | Building Use Index
Annual Electricity Use
|  | kWh/yr | [8 empty] | kWh/yr-sq.ft.
On-Peak Electric Demand
|  | kW | [8 empty] | W/sq.ft.
Annual Natural Gas Use
|  | therm/yr | [8 empty] | therm/yr-sq.ft.
Does this building serve other buildings with hot water, steam, chilled water or electricity?
If yes, explain how this energy will be metered:
[9 empty] | (to AutoFit the row height to the text, click inside of the text cell, then hit 'Enter') | [6 empty] | 0 | x x x
E. Estimated Energy Delivered to the Building from a Separate Plant
Please enter the quantity of energy delivered to the building from a separate plant. For example, if the building receives chilled water, hot water or steam from a separate plant, enter the quantity here. Please also indicate in the second cell how this is measured or estimated. If the building generates its own chilled water, hot water or steam with the electricity and gas use reported above, do not enter the energy use in these cells. | [9 empty] | Plant Use Index
Annual Steam Use |  | (choose units) | [10 empty] | Conversion Factors
[11 empty] | therm/yr-sq.ft |  | 1000 | Btu/lb steam
Annual Hot Water Use | [12 empty] | 10 | therm gas/Million Btu
|  | Million Btu/yr | [8 empty] | therm/yr-sq.ft. |  | 100000 | Btu/therm
Annual Chilled Water Use (Electric Chillers) | [12 empty] | 12000 | Btu/ton-hr
kWh/yr-sq.ft.
Annual Chilled Water Use (Steam Chillers)
therm/yr-sq.ft.
F. Total Estimated Utility Energy Use
This section calculates the total current annual utility energy use. This includes use directly at the building and energy delivered to the building from a separate plant. If applicable, this estimate assumes a marginal boiler efficiency of 80%, a marginal chiller efficiency of 0.8 kW/ton, and a marginal steam chiller rate of 10 lb. steam per ton-hr. | [9 empty] | Total Energy Use Index
Annual Electricity Use
| 0 | kWh/yr | [8 empty] | kWh/yr-sq.ft.
On-Peak Electric Demand |  | (Refer to "On-Peak Electric Demand (kW)" worksheet for program definition.)
| 0 | kW | [8 empty] | W/sq.ft.
Annual Gas Use
| 0 | therm/yr | [8 empty] | therm/yr-sq.ft.
G. Projected Utility Energy Savings
Enter the projected annual utility energy savings, including savings from the building as well as savings from the separate plant, if applicable.
Projected Annual Electricity Savings | [5 empty] | Electric savings are expeced to fall within the following range:
|  | kWh/yr |  |  |  |  | 5% without potential modifications identified;
| 0% | Percent of total electricity use projected to be saved. |  |  |  |  | 10% with likely measures identified;
15% for particularly inefficient operations already identified.
On-Peak Electric Demand
kW
| 0% | Percent of total summer on-peak demand projected to be saved.
If either the annual or on-peak electric savings fall outside of the anticipated 5-15% range, explain:
[9 empty] | (to AutoFit the row height to the text, click inside of the text cell, then hit 'Enter') | [6 empty] | 0 | x x x
Projected Annual Gas Savings
|  | therm/yr |  |  |  | Thermal savings are expeced to fall within the following range:
| 0% | Percent of total gas use projected to be saved. |  |  |  |  | 10% without potential modifications identified;
20% with likely measures identified;
30% for particularly inefficient operations already identified.
If annual thermal savings fall outside of the anticipated 10-30% range, explain:
[9 empty] | (to AutoFit the row height to the text, click inside of the text cell, then hit 'Enter') | [6 empty] | 0 | x x x
Notes
[9 empty] | (to AutoFit the row height to the text, click inside of the text cell, then hit 'Enter') | [6 empty] | 0 | x x x
| System | Campus |  |  | Steam Units |  | Chilled Water Units | Yes/No | Primary Building Function | Electric Use Source | Demand Source | Gas Use Source | Steam Use Source | Hot Water Use Source | Chilled Water Use Source
| UC | Berkeley |  |  | lb/yr |  | Ton-hr/yr | Yes | Lab with hoods, classrooms, offices | Building has electric meter | Building has electric meter | Building has gas meter | Building has steam meter | Building has hot water Btu meter | Building has chilled water Btu meter
| CSU | Davis |  |  | Million Btu/yr |  | Million Btu/yr | No | Labs with minimal hoods, classrooms, offices | No meter - use estimated from building area and campus use | No meter - demand estimated from building area and campus demand | No meter - use estimated from building area and campus use | Building has condensate meter | No meter - use estimated from building area and campus use | No meter - use estimated from building area and campus use
|  | Davis Medical Center | [6 empty] | Building with clean room | No meter - use estimated from energy audit | No meter - demand estimated from energy audit | No meter - use estimated from energy audit | No meter - use estimated from building area and campus use | No meter - use estimated from energy audit | No meter - use estimated from energy audit
|  | Irvine | [6 empty] | Building with main campus data center | Other method - Please describe in Notes section | Other method - Please describe in Notes section | Other method - Please describe in Notes section | No meter - use estimated from energy audit | Other method - Please describe in Notes section | Other method - Please describe in Notes section
|  | Irvine Medical Center |  |  | Boiler Efficiency |  | Chiller Efficiency |  | Classrooms |  |  |  | Other method - Please describe in Notes section
|  | Los Angeles |  |  | 0.8 |  | 0.8 |  | Offices
|  | Los Angeles Medical Center | [6 empty] | Classrooms and Offices
|  | Merced |  |  | Steam Chiller Efficiency |  |  |  | Gym and athletic facilities
|  | Riverside |  |  | 0.125 |  | therm/ton-hr |  | Student center
|  | San Diego | [6 empty] | Dormitory
|  | San Diego Medical Center | [6 empty] | Dormitory with kitchen for food service
|  | San Francisco | [6 empty] | Inpatient hospital
|  | San Francisco Medical Center | [6 empty] | Outpatient hospital
|  | Santa Barbara | [6 empty] | Medical research building
Santa Cruz
Office of President
Bakersfield
Channel Islands
Chico
Dominguez Hills
East Bay
Fresno
Fullerton
Humboldt
Long Beach
Los Angeles
Maritime Adademy
Monterey Bay
Northridge
Pomona
Sacramento
San Bernardino
San Diego
San Francisco
San Jose
San Luis Obispo
San Marcos
Sonoma
Stanislaus
Chancelors Office
PROJECT APPLICATION SUBMITTAL PROCESS
Complete Building or Central Plant Application, complete the Budget, Schedule and Additional Information tabs. Send with any supporting documents to:
For UC Campuses: |  |  |  | For CSU Campuses:
Eric Eberhardt |  |  |  | Michael Clemson
Associate Director, Energy Utilities & Planning |  |  |  | Associate Energy Analyst
UC Office of the President |  |  |  | CSU Office of the Chancellor, Capital Planning Design & Construction
1111 Franklin Street, Room 6207 |  |  |  | 401 Golden Shore, 2nd Floor
Oakland, Ca 94607-5200 |  |  |  | Long Beach, CA 90802-4208
Eric.Eberhardt@ucop.edu |  |  |  | mclemson@calstate.edu
510-987-9392 |  |  |  | 562-951-4291
v3.0

## Central Plant Application
2016/2017 UC/CSU/Utility Energy Efficiency Partnership Program | [21 empty] | Project Application (Form C)
[30 empty] | Estimated Building (or Central System) Energy Use |  |  |  | Estimated Energy Delivered to the Building from a Separate Plant |  |  | Estimated Utility Energy Use
FORM C: MBCx Project Application Form | [43 empty] | Projected Utility Energy Savings
One Application Per Central Plant | [21 empty] | Year Constructed | Date Application Prepared | Building Function | Central Plant (CP) or Building (B) Project | Pure MBCx (P) or Hybrid (H) | Building Area (GSF) | % of Building area requiring OA ventilation | Fume Hood Count | Annual Electricity Use (kWh/yr) | On-Peak Electric Demand (kW) | Summer On-Peak Electricity Use (kWh/yr) | Annual Natural Gas Use (th/yr) | Annual Steam Use (lb/yr) | Annual Hot Water Use (MMBtu/yr) | Annual Chilled Water Use (MMBtu/yr) | Annual Electricity Use (kWh/yr) | Electricity Use per sq ft (kWh/yr/GSF) | Summer On-Peak Electricity Demand (kW) | Annual Gas Use (th/yr) | Annual Gas Use per sq ft (th/yr/GSF) | Total Annual Energy Use (kBtu/yr) | Total Annual Energy Use per sq ft (kBtu/yr-sf) | Projected Annual Electricity Savings (kWh/yr) | Projected Annual Electricity Savings per sq ft (kWh/yr/GSF) | Projected Savings % of Annual Electric Use | On-Peak Electric Demand (kW) | Savings % of On-Peak Electric Demand | Projected Annual Gas Savings (th/yr) | Projected Annual Gas Savings per sq ft (th/yr/GSF) | Projected Savings % of Annual Gas Use
[22 empty] | 0 | 0 | Central Plant | CP |  | 0 | 0 | 0 | 0 | 0 | N/A | 0 | N/A | N/A | N/A | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0% | 0 | 0% | 0 | #DIV/0! | 0%
Please fill in all green boxes. If more room is required, use Additional Information tab.
System
Campus
Building Name
Campus Contact
Email
Phone
Consultant Contact
Email
Phone
Utilities |  | (Electric) |  |  | & |  | (Gas) | [14 empty] | 1
Service Account Number
Date Application Prepared | [20 empty] | (Electric) | (Gas)
By signing , I will/have obtained all required permits for this installation. I understand that it is my responsibility, at my own expense, to ensure that contractors and/or subcontractors used obtain and maintain licenses and permits required by federal, state, local or other relevant governing or regulatory bodies needed to perform its work. |  | Signature: | [18 empty] | LADWP | LADWP
[21 empty] | PG&E | PG&E
[21 empty] | SCE | SCG
[21 empty] | SDG&E | SDG&E
[21 empty] | Other Muni | Other Muni
Permit Number (if applicable)
A. Central Plant Description
Bldg Area Served by Plant (GSF) |  |  | Please use REVOGSF50 (UC) or equivalent CSU definition of space if available
Year Constructed
Please describe in general how this central plant is used (e.g. typical operating hours, types of buildings served).
[9 empty] | (to AutoFit the row height to the text, click inside of the text cell, then hit 'Enter') | [9 empty] | 0 | x x x
Please explain why this plant is a good candidate for MBCx. For example, is this building known as a "problem building" or an "energy hog" and why?
[9 empty] | (to AutoFit the row height to the text, click inside of the text cell, then hit 'Enter') | [9 empty] | 0 | x x x
B. Central Plant Equipment Inventory
Please describe the types and capacities of chillers, boilers, co-generation and thermal energy storage systems in the central plant.
[9 empty] | (to AutoFit the row height to the text, click inside of the text cell, then hit 'Enter') | [9 empty] | 0 | x x x
C. Central Plant Metering/Monitoring/Management Inventory
Select the appropriate status for each of the following meter types in the central plant. The MBCx program requires that each energy source entering and exiting a central plant be metered.
|  | Plant does not receive or deliver this energy source. |  | Meter exists and is already tied into campus EIS. | Meter exists and will be tied into campus EIS. |  | New meter will be installed and tied into campus EIS
Electricity:
Natural Gas:
Hot Water:
Steam:
Chilled Water:
Please identify the existing and/or proposed energy information system(s) (EIS) and how it will interface with meters and equipment (meters should automatically communicate interval energy use to a front-end storage device). Also identify the storage capacity (the MBCx program requires the EIS to be able to store and manipulate data for at least 10 years).
[9 empty] | (to AutoFit the row height to the text, click inside of the text cell, then hit 'Enter') | [9 empty] | 0 | x x x
The MBCx program requires that commissioning agents train campus operators in the revised sequences of operations and usage of newly implemented energy management strategies. Please acknowledge this requirement by checking the box below.
Training and documentation of commissioned systems will be provided to campus operators:
D. Estimated Central Plant Energy Use
Please enter the quantity of energy entering the plant. Indicate in the second cell how this is measured or estimated. | [9 empty] | Plant Use Index
Annual Electricity Use
|  | kWh/yr | [8 empty] | kWh/yr-sq.ft.
On-Peak Electric Demand
|  | kW | [8 empty] | W/sq.ft.
Annual Natural Gas Use
|  | therm/yr | [8 empty] | therm/yr-sq.ft.
Please enter the quantity of energy leaving the plant. Indicate in the second cell how this is measured or estimated.
Annual Steam Use |  | (choose units) | [10 empty] | Conversion Factors
[13 empty] | 1000 | Btu/lb steam
Annual Hot Water Use | [12 empty] | 10 | therm gas/Million Btu
|  | Million Btu/yr | [10 empty] | 100000 | Btu/therm
Annual Chilled Water Use (Electric Chiller) | [12 empty] | 12000 | Btu/ton-hr
Annual Chilled Water Use (Steam Chillers)
E. Projected Utility Energy Savings
Enter the projected annual utility energy savings.
Projected Annual Electricity Savings | [5 empty] | Electric savings are expeced to fall within the following range:
|  | kWh/yr |  |  |  |  | 2% without potential modifications identified;
| 0% | Percent of total electricity use projected to be saved. |  |  |  |  | 5% with likely measures identified;
10% for particularly inefficient operations already identified.
On-Peak Electric Demand
kW
| 0% | Percent of total summer on-peak demand projected to be saved.
If either the annual or on-peak electric savings fall outside of the anticipated 2-10% range, explain:
[9 empty] | (to AutoFit the row height to the text, click inside of the text cell, then hit 'Enter') | [9 empty] | 0 | x x x
Projected Annual Gas Savings
|  | therm/yr |  |  |  | Thermal savings are expeced to fall within the following range:
| 0% | Percent of total gas use projected to be saved. |  |  |  |  | 2% without potential modifications identified;
5% with likely measures identified;
10% for particularly inefficient operations already identified.
If annual thermal savings fall outside of the anticipated 2-10% range, explain:
[9 empty] | (to AutoFit the row height to the text, click inside of the text cell, then hit 'Enter') | [9 empty] | 0 | x x x
Notes
[9 empty] | (to AutoFit the row height to the text, click inside of the text cell, then hit 'Enter') | [9 empty] | 0 | x x x
PROJECT APPLICATION SUBMITTAL PROCESS
Complete Building or Central Plant Application, complete the Budget, Schedule and Additional Information tabs. Send with any supporting documents to:
For UC Campuses: |  |  |  | For CSU Campuses:
Eric Eberhardt |  |  |  | Michael Clemson
Associate Director, Energy Utilities & Planning |  |  |  | Associate Energy Analyst
UC Office of the President |  |  |  | CSU Office of the Chancellor, Capital Planning Design & Construction
1111 Franklin Street, Room 6207 |  |  |  | 401 Golden Shore, 2nd Floor
Oakland, Ca 94607-5200 |  |  |  | Long Beach, CA 90802-4208
Eric.Eberhardt@ucop.edu |  |  |  | mclemson@calstate.edu
510-987-9392 |  |  |  | (562) 951-4291 | [6 empty] | v3.0
| System | Campus |  |  | Steam Units |  | Chilled Water Units | Yes/No |  |  |  | Primary Building Function | Electric Use Source | Demand Source | Gas Use Source | Steam Use Source | Hot Water Use Source | Chilled Water Use Source
| UC | Berkeley |  |  | lb/yr |  | Ton-hr/yr | Yes |  |  |  | Lab with hoods, classrooms, offices | Plant has electric meter | Plant has electric meter | Plant has gas meter | Plant has steam meter | Plant has hot water Btu meter | Plant has chilled water Btu meter
| CSU | Davis |  |  | Million Btu/yr |  | Million Btu/yr | No |  |  |  | Labs with minimal hoods, classrooms, offices | No meter - use estimated from building area served and campus use | No meter - demand estimated from building area served and campus demand | No meter - use estimated from building area served and campus use | Plant has condensate meter | No meter - use estimated from building area served and campus use | No meter - use estimated from building area served and campus use
|  | Davis Medical Center | [9 empty] | Building with clean room | No meter - use estimated from energy audit | No meter - demand estimated from energy audit | No meter - use estimated from energy audit | No meter - use estimated from building area served and campus use | No meter - use estimated from energy audit | No meter - use estimated from energy audit
|  | Irvine | [9 empty] | Building with main campus data center | Other method - Please describe in Notes section | Other method - Please describe in Notes section | Other method - Please describe in Notes section | No meter - use estimated from energy audit | Other method - Please describe in Notes section | Other method - Please describe in Notes section
|  | Irvine Medical Center |  |  | Boiler Efficiency |  | Chiller Efficiency |  |  |  |  | Classrooms |  |  |  | Other method - Please describe in Notes section
|  | Los Angeles |  |  | 0.8 |  | 0.8 |  |  |  |  | Offices
|  | Los Angeles Medical Center | [9 empty] | Classrooms and Offices
|  | Merced |  |  | Steam Chiller Efficiency | [6 empty] | Gym and athletic facilities
|  | Riverside |  |  | 0.125 |  | therm/ton-hr |  |  |  |  | Student center
|  | San Diego | [9 empty] | Dormitory
|  | San Diego Medical Center | [9 empty] | Dormitory with kitchen for food service
|  | San Francisco | [9 empty] | Inpatient hospital
|  | San Francisco Medical Center | [9 empty] | Outpatient hospital
|  | Santa Barbara | [9 empty] | Medical research building
Santa Cruz
Office of President
|  | Bakersfield | [10 empty] | No meter - use estimated from other engineering calculations | No meter - demand estimated from other engineering calculations | No meter - use estimated from other engineering calculations | No meter - use estimated from other engineering calculations | No meter - use estimated from other engineering calculations | No meter - use estimated from other engineering calculations
Channel Islands
Chico
Dominguez Hills
East Bay
Fresno
Fullerton
Humboldt
Long Beach
Los Angeles
Maritime Adademy
Monterey Bay
Northridge
Pomona
Sacramento
San Bernardino
San Diego
San Francisco
San Jose
San Luis Obispo
San Marcos
Sonoma
Stanislaus
Chancelors Office

## Budget
2016/2017 UC/CSU/Utility Energy Efficiency Partnership Program
Project Cost & Funding
FORM C: MBCx Budget Proposal and Incentive |  |  |  | Monitoring: Install or Upgrade Front End Data System (if required) |  |  | Monitoring: Implement Building Level Monitoring |  |  | Monitoring: Implement Equipment Level Monitoring |  |  | Subtotal Monitoring |  |  | Commissioning Measure Identification |  |  | Commissioning Measure Implementation |  |  | Subtotal Commissioning |  |  | Total MBCx Project Cost
Please fill in all green boxes. |  |  |  | In-house Costs | Contractor Costs | Total Costs | In-house Costs | Contractor Costs | Total Costs | In-house Costs | Contractor Costs | Total Costs | In-house Costs | Contractor Costs | Total Costs | In-house Costs | Contractor Costs | Total Costs | In-house Costs | Contractor Costs | Total Costs | In-house Costs | Contractor Costs | Total Costs | In-house Costs | Contractor Costs | Total Costs | Incentive Requested by University | Funding from University | Incentive per GSF | Total Cost per GSF | Supported Electric Incentive ($0.24/kWh x kWh savings) | Supported Gas Incentive ($1.50/th for SCG and $1/th for other IOUs) | Total Supported Incentive | % Campus Co-pay | Notes
System |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE!
Campus
Building
Building Area (GSF)
Cost Category | In House Costs | Contractor Cost | Total Cost
Monitoring: Install or Upgrade Front End Data System (if required) |  |  | 0
Monitoring: Implement Building Level Monitoring |  |  | 0
Monitoring: Implement Equipment Level Monitoring |  |  | 0
Subtotal Monitoring | 0 | 0 | 0
Commissioning Measure Identification |  |  | 0
Commissioning Measure Implementation |  |  | 0
Subtotal Commissioning | 0 | 0 | 0
Total MBCx Project Cost | 0 | 0 | 0 | Project Cost Cap |  | 0
Incentive Requested by University * |  |  | 0 | Un-capped Building Incentive |  |  | 0
|  |  |  | Un-capped CP Incentive |  |  | 0
Funding from University |  |  | 0
* Incentive is capped at 80% of project cost.

## Schedule
2016/2017 UC/CSU/Utility Partnership Program - Mandatory Project Schedule
Please fill in the blue cells to create a preliminary project schedule. (Complete initial start date and durations for activities under campus responsibility)
A Partnership representative will assist you in developing and maintaining a detailed schedule in Primavera P6.
No. | Process Component | Duration (Days) | Start Date | Finish Date | Detailed Explanation
Phase I: Definition/Scope
1 | START PROJECT |  |  |  | Initial milestone representing decision to pursue a given project and start project-specific effort
2 | Develop Scope and Savings Projections |  |  |  | Develop energy savings projections, project budget, and schedule (may include procurement of Cx Agent)
3 | Prepare Application |  |  |  | Finalize and submit MBCx Project Form C to UCOP/CSUCO for review
4 | SUBMIT APPLICATION |  |  |  | Milestone representing date Utility receives project application
Phase II: Review
5 | Utility Review |  |  |  | Utility reviews project application and energy savings projections
6 | Management Team Approval |  |  |  | Partnership Management Team approves reviewed project
7 | Execute Project Agreement |  |  |  | Campus must sign and return agreement for Utility to commit incentive funding
Phase III: Design/Plan
8 | Procure and Install Meters |  |  |  | Purchase and install meters used to collect data for project, can occur in conjunction with Utility review
9 | Collect Baseline Data |  |  |  | Minimum baseline collection period is 3 months (see MBCx Guidelines)
10 | Prepare Baseline/Findings Report |  |  |  | See MBCx Guidelines for Baseline/Findings Report components
Phase IV: Implementation
11 | Implementation of identified Measures |  |  |  | Implement low-cost measures identified in Baseline/Findings Report
12 | Collect Post-Implementation Data |  |  |  | Minimum post-implementation data collection period is 3 months (see MBCx Guidelines)
13 | Prepare Systems Manual, Final Report, & Form D |  |  |  | Final Report and Form D (MBCx Results Form) are required for incentive payment
14 | Notify Utility of Finished Contstruction/Implementation |  |  |  | Submit Form E (Project Completion Form), Form D, and Final Report
Phase V: Verification & Payment
15 | Utility Verification | 30 |  |  | Utility reviews and approves final savings claims
16 | Utility Send Incentive Payment | 7 |  |  | Utility records project as "Paid" and books savings
17 | Campus Receive Incentive Payment | 7 |  |  | Campus Receives Payment
= Campus Responsibility
= Utility Responsibility
= Please Fill In

## Additional Information
2016/2017 UC/CSU/Utility Partnership Program
FORM C: MBCx Project Application Form
Additional Project Information
Project Manager:
Energy Manager:
Engineering Consultant:
Contractor/Implementer:
Contact Mailing Address:
Project Site Address:
Financing
(Mark only one line with an "X")
CSU Projects
| Will financing from CSU Chancellor's Office be requested for this project? |  |  | Yes | No
UC Projects
| Will financing from UC Office of the President be requested for this project? |  |  | Yes | No
Include SEP #(s) below (All UC projects must be assigned an SEP ID):
|  | Meas # | Measure Description |  |  | SEP #
1
2
3
4
5

## Additional Application Page
2016/2017 UC/CSU/Utility Energy Efficiency Partnership Program
FORM C: MBCx Budget Proposal and Incentive
System
Campus
Building
Building Area (GSF)
Signature:
Print Name:
Date:
Attach here (or on additional pages if necessary) additional documentation for the project.

## DEER Peak Demand Definition
2016/2017 UC/CSU/Utility Energy Efficiency Partnership Program
Source: IOU Statewide Customized Offering Manual, Section 2: Customized Calculated Savings Guidelines
DEER Peak Demand Reduction Calculations
DEER Peak reduction estimates depend on the measure type, measure operation, and level of data available. The DEER Peak method is the average grid level impact for a measure between 2:00 p.m. and 5:00 p.m. during the three consecutive weekday periods containing the weekday temperature with the hottest temperature of the year.
The DEER Peak periods are defined by individual climate zones. Because the definition is based on average grid-level impacts it has been determined that all measures must use the predefined periods.
Source: IOU Statewide Customized Offering Manual, Section 2: Customized Calculated Savings Guidelines
Click here for a description of California Climate Zones